## Sheet1
DIVISION | ITEM | SPECIFIED MFG | PROPOSED MFG | APPROVE | REJECT | APPROVE AS NOTED
15000 | Cleanouts, Floor Drains | Wade, Josam | Watts Drainage Products
15000 | Flush Valves | Sloan | American Standard
15000 | Faucets | Chicago | American Standard
15000 | Carriers | Wade | Watts Drainage Products
Not in the specs | Thermostatic Mixing Valves | Leonard | Powers Controls
15000 | Exhaust Fans |  | Twin City Fan
15000 | Grilles/Registers/Diffusers |  | Nailor
15000 | VRF System |  | Fujistsu
15000 | Louvers |  | Nailor
15000 | VRV System - Outdoor Unit |  | Samsung
15000 | VRV System - Indoor Units |  | Samsung
15000 | Variable Refrigerant Volume AC Outdoor Unit |  | LG
15000 | Variable Refrigerant Volume AC Indoor Units |  | LG
15000 | Louver |  | Greenheck